### PRODUCT SPECIFICATION SHEET

### ACTIVA PROGRAMMABLE SANITIZER

#### KHP Part No:  URS AVA UNP

# DESCRIPTION

- Battery powered Sanitizer to automatically dose urinals and toilet systems with a sanitizing solution to degrade uric acid and organic scale build up and prevent washroom malodour.

- Large angled display for easy viewing.

- Option of Countdown to next service or neutral screensaver.

- Unit can be programmed for 12/24 hour and 5/7 day operation.

- Four dose rate settings can be selected by user to suit high frequency use.

- Optional audible Low Battery indicator.

- Designed to accommodate two 1.5 Volt LR20 Alkaline Manganese batteries. Battery life expectation is three years.

- Self-supporting cover opened using standard Kennedy key.

- Supplied with Standard installation Kit.

- Self-adhesive wall fixing kit available.

- Refer to Installation sheet for a list of additional kits that are available.

- CE marked to conform with the protection requirements of Council Directive 89/336/EEC relating to Radiated Emissions, Radiated Immunity and Electrostatic Discharge.

##### DIMENSIONS

## MATERIALS

Constructed from engineering thermoplastics.

Dispenser can be recycled or disposed of in accordance with local regulations.

## PACKAGING

Individual units are packed in a poly bag with fixing pack.  Four units are packed in a box with an installation/operating instruction sheet.

Individual weight of unit: 540g (without batteries)

Box size: 27cm x 27cm x 20cm

Total Weight: 2.7Kg